## Slide 1: Reconstruction of Cardiac Ultrasound Images Using Phased Array Transducer Techniques
Task 2 Imaging

## Slide 2: TABLE OF CONTENTS Transducer Configuration Transmit Delays RF Signal Simulation Transmit apodization Pressure Field Simulation 01 03 05 02 04 08 06 07 09
I/Q Demodulation
Beamforming:
Time-Gain Compensation (TGC)
Image Compounding

## Slide 3: INTRODUCTION
We simulate ultrasound signals to generate an UltraSound image of the heart.

## Slide 4: Transducer Configuration 01
64-element phased array with a 2.7 MHz center frequency.

## Slide 5: Transmit apodization 02
using a cosine function to smooth the beam profile

## Slide 6: Transmit Delays 03

## Slide 7
Seven diverging waves are transmitted at tilt angles ranging from -20° to +20°.

## Slide 8: Pressure Field Simulation 04

## Slide 9
Pressure field is visualized to validate the 60-degree diverging wave steered at -20

## Slide 10: RF Signal Simulation 05

## Slide 11
Scatterers representing heart structures are generated.

## Slide 12: I/Q Demodulation 06

## Slide 13
RF signals are converted into in-phase (I) and quadrature (Q) components

## Slide 14: Beamforming 07
Delay-and-sum (DAS) beamforming is applied to focus the received signals onto a 256 × 128 polar grid.

## Slide 15: Time-Gain Compensation (TGC) 08
The beamformed I/Q signals were time-gain compensated to equalize amplitudes across depths

## Slide 16: Image Compounding 09

## Slide 17
Individual images from all seven tilts were compounded by summing their beamformed signals

## Slide 18: THANK YOU